Boiler troubles refer to the problems that arise during the operation of boilers due to impurities in feed water. These issues can reduce the efficiency, lifespan, and safety of the boiler.

Major Boiler Troubles

1. Scale Formation
Hard, adherent deposits formed on the inner walls of the boiler due to the precipitation of slightly soluble salts when water is heated.

Causes:

- Decomposition of calcium bicarbonate:

- Presence of CaSO₄, Mg(OH)₂, and SiO₂

Effects:

- Reduces heat transfer efficiency

- Leads to overheating and possible boiler failure

- Increases fuel consumption

- May cause tube blockage or bursting

Prevention:

- External water softening (e.g., ion exchange, lime-soda method)

- Internal treatment (e.g., phosphate conditioning)

- Regular mechanical cleaning or acid descaling

2. Sludge Formation
Sludge is a soft, loose, and non-adherent precipitate formed by substances with greater solubility in hot water but which precipitate on cooling.

Causes:

- Presence of magnesium chloride, magnesium carbonate, sodium silicate

- Improper treatment of feed water

Effects:

- Accumulates in low-flow regions (e.g., bends)

- Reduces boiler efficiency

- Causes corrosion if acidic

- Leads to foaming and priming indirectly

Prevention:

- Blow-down operations

- Proper water treatment

- Use of coagulants

3. Priming and Foaming

a. Priming

The carryover of water droplets along with steam due to rapid boiling or high water levels.

Causes:

- Sudden boiling, high water level, high steam velocity

- Presence of dissolved solids

Effects:

- Wet steam can damage turbine blades

- Reduces heating efficiency

Prevention:

- Maintaining proper water level

- Proper boiler design

- Use of anti-priming agents

b. Foaming

Formation of stable foam or bubbles on the water surface due to presence of oil, alkalis, or organic matter.

Causes:

- Presence of oil and chemicals

- Presence of dissolved salts

Effects:

- Leads to priming

- Difficulty in water level control

Prevention:

- Use of anti-foaming agents (e.g., castor oil)

- Removal of oil or organics from feed water

4. Corrosion
Gradual destruction of boiler metal due to chemical or electrochemical reactions with dissolved gases (e.g., oxygen, CO₂) or acidic water.

Causes:

- Oxygen corrosion:

- Carbon dioxide corrosion

- Acid corrosion: Due to low pH (below 7)

Effects:

- Pitting and weakening of boiler metal

- Leakage and structural failure

Prevention:

- Deaeration (removing O₂ and CO₂)

- Chemical treatment (adding oxygen scavengers like hydrazine or sodium sulfite)

- Maintaining alkaline pH

5. Caustic Embrittlement
A type of intergranular corrosion that causes the metal to become brittle due to the presence of highly alkaline water (NaOH).

Causes:

- Local accumulation of NaOH in stressed parts of the boiler

- Use of highly alkaline water in high-pressure boilers

Effects:

- Cracking of boiler metal under stress

- Failure of boiler components

Prevention:

- Use of sodium phosphate instead of sodium carbonate for water treatment

- Addition of tannins or lignin to prevent caustic accumulation

- Control of water alkalinity